## Sheet1
0
0 | 165106
1 | 74234-1@KENNELBACH@LINDAU@03/11/2015@Allianz@Allianz@3 - Good@Installation of fire detections in some areas@To seal wires installations@To install sectorization fire valve @Water tank gauje to regulate@To increase installation of fire equipements in the storage area@ALCOA Castelsarrasin_Francia_REC15.pdf@between 0% and 33%@SEHS018 - Plan des reseaux Sprinklers Incendie.doc
2 | 74234-1
3 | 28532-2 @HAGENBACH R&D@KOSICE@PUEBLA SAS
4 | 101820@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FAS@BEAULIEU@MESSEI@AUGSBURG Techno@HERRENBERG@TERNI@BRAGANCA@TRNAVA FAS@PAMPLONA FAS
5 | 28532-1
6 | 118204-2@TERNI@09/14/2016@HDI Risk Consulting GmbH@HDI Global SE@3 - Good@Thermography tests on switch and control cabinets as well as electrical distributors (already done)@Stop deficiencies of the sprinkler system (already done)@Keep battery charging stations clear and marking them (already done)@Install active arc fault protection system (in investigation - actually no certificated system available)@Person named as sprinkler service agent (already done)@118204-2_Risk Report.pdf@more than 66%@15110_BSP_BSK_308_Löschanlage_Ebene 0m_SGF_20150305.pdf
7 | 28532-1@KENNELBACH@MLADA BOLESLAV FCM Bezdecin@MLADA BOLESLAV FIS@MLADA BOLESLAV SAS Skoda@MERU CREA@BOBLINGEN FIS JIT@HAGENBACH R&D@LINDAU@NEUBURG@NEUENSTADT@PEINE@SCHEUERFELD@STADTHAGEN@LEGNICA FAD@VALENCIA R&D@06/22/2017@HDI Risk Consulting GmbH@HDI-GLOBAL SE@3 - Good@no information@no information@no information@no information@no information@loss prevention_data.pdf@between 0% and 33%@170622_HDI_Besichtigungsbericht_Brandschutz_GIC_Hardheim.pdf
8 | 118204-1@ANTING FCM Yuangong@MESSEI@AUGSBURG R&D Proto@HERRENBERG@ROERMOND@FRADLEY FCM@AUBURN HILLS HQ R&D@COLUMBUS SOUTH@LIMEIRA@SAO JOSE DOS PINHAIS@09/13/2016@HDI Risk Consulting GmbH@HDI Global SE@3 - Good@Retrofit sprinkler system (not done)@CO2 fire extinguisher for EDP server room (already done)@Outdoor storage of timber transport pallets (already done)@Keeping battery charging stations free and marking them (already done)@118204-1_Risk Report.pdf
9 | 76158-6@HENIN-BEAUMONT@MARCKOLSHEIM@SAINT MICHEL@ALMUSSAFES FIS@TARAZONA@07/19/2018@BASF SE@HDI@3 - Good@none@none@none@none@none@76158-6_Risk Report.pdf@more than 66%@76158-6_Sprinkler Layout.pdf
10 | 211227-1@CHENNAI FIS I@CHENNAI FIS III
11 | 76158-3@MOUZON@LEGNICA AST@OLMEDO@OURENSE@01/26/2018@RC Audit @not known to me@4 - Excellent@Ensure fire doors always close automatically @76158-3_risk report.docx
12 | 76158-5
13 | 76158@MLADA BOLESLAV FIS@HLOHOVEC@more than 66%@Faurecia.docx
14 | 122528@CHONGQING FCM
15 | 122528
16 | 30080-4@SALINE@01/02/2012@Cincinnati Financial@Cincinnati Financial@4 - Excellent@Report was not given due to no issues found.@30080-4_Risk Report.pdf@more than 66%@30080-4_Sprinkler Layout.pdf
17 | 27818-1
18 | 29170@BRAMPTON@HERMOSILLO@QUERETARO@ARLINGTON@CHATTANOOGA@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@FORT WAYNE@FRANKLIN@LOUISVILLE FCM@TAYLOR@TOLEDO DMS@TROY FCM@LIMEIRA@01/03/2018@Dyersbrug Fire Department@Liberty Mutual@3 - Good@29170 Risk Report.pdf@more than 66%@17.2_Plant Layout.pdf
19 | 27773
20 | 43506@MORNAC@MOUZON R&D@LEGNICA AST@PITESTI@RAMNICU VALCEA@KALUGA FIS
21 | 65907-2@CHENGDU FCM@between 33% and 66%@zhenjian-cd消防布局图.png
22 | 65907-1@ANTING FAS Frames@BAOJI@CHENGDU FAE@CHONGQING FIS GN@FOSHAN FAS@GUANGZHOU FAS Old@NINGBO-BEILUN@NINGBO-CIXI@WUHAN FIS@HERMOSILLO@between 33% and 66%@消防布局图.png
23 | 46157-1@BEIJING@CHANGSHA FCM@CHENGDU FCM@NINGBO-BEILUN@PISEK FCM@MESSEI@BRAGANCA
24 | 44823-1
25 | 46157-1
26 | 45978-1
27 | 45081-1@LANUS
28 | 210505-1
29 | 114673-2 @LANUS@LIMEIRA@06/06/2018@Bússola Corretora de Seguros Ltda.@Tókio Marine Seguradora S.A@3 - Good@Não temos nenhuma recomendação da Seguradora Pendente@PARANOÁ-RELATÓRIO DE INSPEÇÃO 06JUN2018.pdf@between 0% and 33%@PARANOÁ-RELATÓRIO DE INSPEÇÃO 06JUN2018.pdf
30 | • 28532-1
31 | 66424-1@SALINE
32 | 29895-1
33 | 29726@PISEK FCM@STADTHAGEN@GROJEC Frames@JELCZ@WALBRZYCH Frames@WALBRZYCH Pneumatic@WALBRZYCH Recliners@ARGES CATEASCA@KALUGA FCM@SAN LUIS POTOSI FAS 1@LIMEIRA@04/24/2018@UNIQA@UNIQA@3 - Good@brak@UNIQA.pdf
34 | 66424-1
35 | 28219@MLADA BOLESLAV FIS@HENIN-BEAUMONT@SAINT MICHEL@HAGENBACH R&D@GORZOW I@OURENSE@TARAZONA@ORHANGAZI@MALVINAS@07/12/2018@AIG @AIG@4 - Excellent@NO RECOMMENDATIONS@1773725 MCCP CLERVAL 2017.pdf@more than 66%@LAYOUT SPRINKLER.pdf
36 | 29726
37 | 28157@AUCHEL@BAINS SUR OUST@ETUPES FIS@HAMBACH SAS@HENIN-BEAUMONT@MERU CREA@MERU CREA 2@MERU PLANT@THEILLAY@more than 66%@SKM_C25818071813210.pdf
38 | 11111-2
39 | 73062
40 | 27817-1
41 | 29447-1@ANTING FAS Frames@CHENGDU FAS Frames@WUXI@YICHUN@PISEK FAS@PARIS Parrot HQ R&D@STADTHAGEN@SAN LUIS POTOSI FAS 1@SAN LUIS POTOSI FAS 2@CLEVELAND@more than 66%@公司消防平面图.png
42 | 29447-1
43 | 28924-1
44 | 28924
45 | 28924-1
46 | 43898-1
47 | 28305@LOZORNO I@LOZORNO II
48 | 43898-2@07/05/2017@Risk Consult@Vienna Insurance Group@3 - Good@Automatic fire detection for cableducts@19801-RS-update-voestalpine AG-Stahl Service Center Sp.z.o.o-43-100 Tych.._.pdf
49 | 43898-1
50 | 43898-1
51 | 43898-3@11/07/2017@Risk Consult@Vienna Insurance Group@3 - Good@no recommendations found@21016-vorläufiger Bericht-voestalpine AG-voestalpine Stahl Linz GmbH-Kaltwalzwerk2-4020 Linz-2017-RE.pdf
52 | 43898-2
53 | 43898-1@11/07/2017@Risk Consult@Vienna Insurance Group@3 - Good@Semiautomatical foamextinguishing in hydraulicstation 3/16 slittingline - done@Implementing automatic firedetection area batterycharging station - done@19887-RS-voestalpine AG-voestalpine Steel & Service Center GmbH-4020 Linz-2017-RE_VN.pdf
54 | 42928@CHENGDU FIS CFC Old@CHONGQING FIS CFAP I@DONGGUAN FIS@HARBIN@WUHAN FIS@RAYONG FCM@KENNELBACH@MLADA BOLESLAV SAS Skoda@BAINS SUR OUST@HENIN-BEAUMONT@MERU PLANT@SAINT MICHEL@HAGENBACH R&D@LINDAU@PEINE@SCHEUERFELD@KENITRA FAS@GORZOW I@JELCZ@LEGNICA FAD@PALMELA FIS@SAO JOAO DA MADEIRA Accessories@PITESTI@HLOHOVEC@ABRERA FIS@OURENSE@FRADLEY FIS@PUEBLA FIS Accessories@RAMOS ARIZPE FIS@FRASER@LOUISVILLE FIS@SALINE@TUSCALOOSA@MALVINAS@PORTO REAL FIS@SAO BERNARDO DO CAMPO@SAO JOSE DOS PINHAIS@between 0% and 33%@42982_sprinklerLayout.docx
55 | 1619043-1@LIMEIRA@11/21/2017@CORPO DE BOMBEIROS - PMESP@ALIANÇA SEGUROS@3 - Good@There is no recommendation@1619043-1_Risk report.pdf
56 | 29368-1@PISEK FAS@BRIERES@CALIGNY R&D@CALIGNY Techno@CERCY@NOGENT SUR VERNISSON@VILLERS-LA-MONTAGNE@STADTHAGEN@GROJEC@WALBRZYCH Frames@WALBRZYCH Recliners@SAO JOAO DA MADEIRA Frames@MADRID FAS@11/07/2017@LSI@CECAS@4 - Excellent@nothing@Scan du _20180704_152744.pdf@between 0% and 33%@Protection machine électroérosion.pdf
57 | 84971-1@ANTING FCM Yuangong@BEIJING@CHENGDU FCM@CHONGQING FCM@FOSHAN FCM JV@NINGBO-BEILUN@TIANJIN FAS Wuqing@YANTAI@between 33% and 66%@防火喷淋.jpg
58 | 82741-1@TOGLIATTI FAS@TOGLIATTI FCM@more than 66%@82741-1_Fire certificate.jpg
59 | 49027-3@HLOHOVEC
60 | 49027-2
61 | 49027-1
62 | 48475-1@BEAULIEU@TOGLIATTI FCM@KOCAELI FCM
63 | 30147-1@ETUPES FIS@HENIN-BEAUMONT@MERU PLANT@WALBRZYCH Headrests@VALENCIA R&D@PUEBLA FAS Covers@03/19/2018@ANPI@HDI Global SE@3 - Good@There was a delay (couple of minutes) in the closing of our fire gates (to close the section where our foam is stored) after the fire-alarm had been activated, this needs to be resolved@KEY 18-058C.pdf@more than 66%@30147-1 - Sprinkler Layout.pdf
64 | 59139-1@MLADA BOLESLAV FIS@HENIN-BEAUMONT@MERU PLANT@SAINT MICHEL@LINDAU@SCHEUERFELD@GORZOW I@GORZOW II@ARGES CATEASCA@LUGA@HLOHOVEC@ABRERA FIS@ALMUSSAFES FIS@OURENSE@TARAZONA@FRADLEY FIS@PUEBLA FIS Injection@SAN LUIS POTOSI FIS@LOUISVILLE FIS@more than 66%@Fire disaster Auto alart system layout.jpg
65 | 27448-1@MERU PLANT@SAARLOUIS@HLOHOVEC
66 | 29502-3
67 | 49027-1 @BAINS SUR OUST@MERU PLANT@HLOHOVEC
68 | 1657496-2@PUEBLA FAS Covers@PUEBLA FAS JIT@PUEBLA FIS Injection@PUEBLA FIS Accessories@PUEBLA FIS HOWA@PUEBLA FIS Techno@PUEBLA SAS@ARLINGTON@LOUISVILLE FCM@LOUISVILLE FIS@SAO BERNARDO DO CAMPO
69 | 168162-1@CAMACARI@GOIANA
70 | 28517-2@JANGAN Techno
71 | 1666275-1@LIMEIRA
72 | 43155@CHANGCHUN FIS XY@CHENGDU FIS DFAI@FOSHAN FIS XY@CHENNAI FIS I@PUNE FIS Tooling@MLADA BOLESLAV FIS@PARDUBICE@AUCHEL@BAINS SUR OUST@HENIN-BEAUMONT@MERU PLANT@SAINT MICHEL@THEILLAY@PEINE@SCHEUERFELD@GORZOW I@LEGNICA AST@PALMELA FIS@KALUGA FIS@LUGA@ABRERA FIS@OURENSE@TARAZONA@VALENCIA R&D@ZARAGOZA@ORHANGAZI@FRADLEY FIS@PUEBLA FIS Injection@RAMOS ARIZPE FIS@SAN LUIS POTOSI FIS@FRASER@LOUISVILLE FIS@SALINE@SIMPSONVILLE@TUSCALOOSA@ESCOBAR@DIAS D AVILA@PORTO REAL FIS@SAO JOSE DOS PINHAIS
73 | 28545-1
74 | 28545-1
75 | 28707-1@PISEK FAS
76 | 28545-2@03/17/2016@DNV.GL@China pacific property insurance Co.,Ltd@3 - Good@pass@28545-2_OHSAS18000中文版证书-2016.pdf@more than 66%@28545_2Sprinkler Layout(example).pdf
77 | 68830-1@LANUS
78 | 24553-1
79 | 24553-1@LIMEIRA@more than 66%@Faurecia.pdf
80 | 28044-1
81 | 28044-1@YANCHENG@more than 66%@Layout.docx
82 | 65428-1@CHENNAI FIS I@CHENNAI FIS III
83 | 28044-1
84 | 1657496-2
85 | 29502-3@PUEBLA FIS Accessories@more than 66%@Lay out Extintores 2018.pdf
86 | 1@PUEBLA FAS Covers@SAN LUIS POTOSI FAS 1@SAN LUIS POTOSI FAS 2@FRASER@LOUISVILLE FCM@LOUISVILLE FIS@SALINE@SAO BERNARDO DO CAMPO
87 | 29502-3
88 | 25383-1@DIAS D AVILA@QUATRO BARRAS@more than 66%@Layout do Code Sprinkler do Site FERROSIDER COMPONENTES.pdf
89 | 1657496-1@PUEBLA FIS Accessories@FRASER@SALINE@12/06/2017@Tokio Marine America@Global Risk Consultants@3 - Good@Improve drum storage@Supplier site code_Risk Report.pdf@more than 66%@Site Layout.pdf
90 | 28777-1@FRASER@SALINE@STERLING HEIGHTS SAS@WENTZVILLE@03/22/2018@Traveler's Risk Control@Traveler's Insurance@4 - Excellent@Ensure that a Business Continuity Plan is developed@28777_risk report.docx@more than 66%@28777_Sprinkler Layout.pdf
91 | 898073-2@PARDUBICE@HLOHOVEC
92 | 898073-1@PARDUBICE@HLOHOVEC
93 | 42791@MLADA BOLESLAV FIS@TARAZONA@ZARAGOZA@ORHANGAZI@FRADLEY FIS@SAN LUIS POTOSI FIS@SALINE@GOIANA
94 | 46158-1@ANTING FCM Yuangong@BEIJING@CHENGDU FCM@NINGBO-BEILUN@PISEK FCM@MESSEI@BRAGANCA@QUERETARO@WENTZVILLE
95 | 211229-2@CHENNAI FCM Techno
96 | 28777-1@FRASER@SALINE@STERLING HEIGHTS SAS@WENTZVILLE
97 | 28777-1
98 | 28204-4@PORTO REAL FAS@11/25/2014@Corpo de Bombeiros do Estado de São Paulo / Brazil@Allianz@4 - Excellent@Test the fire detection system and the firefighter equipment. @Practice emergency exits/situation exercises @Have trained Emergency Brigades based on the Brazilian Norms. @Check regularly emergency response plan in case of fire. @No 5th recommendation@AVCB - Val 11-11-19.pdf
99 | 28204-3@AUBURN HILLS HQ R&D@MADISON@STERLING HEIGHTS@WENTZVILLE@08/09/2016@Laboratorio JABA S.A de C.V - JABALAB@XL CATLIN - XL Seguros Mexico, S.A de C.V@4 - Excellent@Regular check of emergency response plan in case of fire. @Regular check of the fire detection system works and of the firefighter equipment. @Have trained Emergency Brigades based on the Mexican Norms. @Improve the equipement of emergency brigades@Conduct regular evacuation exercises@002 Estudio Riesgo Contra Incendios LEONI SysApp.pdf
100 | 77673-1@BAINS SUR OUST@PEINE@GORZOW I@HLOHOVEC@TARAZONA@VALENCIA R&D@ORHANGAZI
101 | 1657496-1@PUEBLA FIS Injection@RAMOS ARIZPE FIS@SAN LUIS POTOSI FAS 1@SILAO@FRASER@LOUISVILLE FIS@SALINE
102 | 28204-2@CERCY@NELAS@VIGO FAS@09/05/2017@APAVE International@Company Atlanta@4 - Excellent@Exercises to ensure the fire detection system works, as well as the firefighter equipment. @Be sure to have an emergency response plan in case of fire. @Make sure staff and personnel knows the evacuation routes, exits, assembly point, etc. @Have trained Emergency Brigades (Evacuation, Search and Rescue, First Aid and Fire) based on the Moroco Norms. @Set the location of Emergency Brigades equipment@APAVE INTERNATIONAL-2017-EIL-257-LEONI SITE GM-PCI.PDF
103 | 28719-2 @BAINS SUR OUST@ETUPES FIS@MERU CREA@MERU CREA 2@MERU PLANT@MOUZON@MOUZON R&D@MOUZON R&D Acoustique@SAINT MICHEL@SAINT QUENTIN@ESELBORN AST
104 | 51663-1@DONGGUAN FCM@ETUPES FIS@MERU PLANT@BOBLINGEN FIS JIT@HAGENBACH R&D@GORZOW I@GORZOW II@VALENCIA R&D
105 | 248594-1@PISEK FAS
106 | 49240-1@GORZOW I@more than 66%@49240-1_Sprinkler layout.pdf
107 | 79247-1@ANTING FAS Frames@PISEK FAS@WALBRZYCH Recliners@07/15/2005@Public security fire brigade of chang sha@ Allianz China General Insurance Company Ltd @3 - Good@Indoor fire hydrants should be installed@消防验收意见书.pdf
108 | 42967@KYUSHU FNK@TANJUNG MALIM@MLADA BOLESLAV FIS@PARDUBICE@BAINS SUR OUST@SAINT MICHEL@BOBLINGEN FIS JIT@BREMEN@HAGENBACH R&D@LINDAU@PEINE@SCHEUERFELD@KENITRA FAS@GORZOW I@GORZOW II@LEGNICA AST@LEGNICA FAD@PALMELA FIS@HLOHOVEC@KOSICE@ABRERA FIS@ALMUSSAFES FIS@OLMEDO@TARAZONA@ORHANGAZI@FRADLEY FIS@WASHINGTON@PUEBLA FIS HOWA@FRASER@LOUISVILLE FIS@SALINE@TUSCALOOSA@DIAS D AVILA@GOIANA@PORTO REAL FIS@SAO BERNARDO DO CAMPO@02/09/2017@VdS Schadenverhütung@HDI Global SE, SV Sparkassen Versicherung, AXA Versicherung AG, General Versicherung AG@2 - Sub-Standard@carry out maintenance and inspection work@to repair the drain of the pressure switch @-@-@-@42967_Risk_Report_Feb_2017.pdf@more than 66%@42967_Sprinkler_Layout.pdf
109 | 43036
110 | 43036
111 | 149023@ANTING FCM Weigang@BEIJING@CHONGQING FCM@NANCHANG@PLUAK DAENG@AUGSBURG R&D Proto@AUGSBURG Techno@ROERMOND@PAMPLONA FCM@COLUMBUS SOUTH@more than 66%@Supplier Site Code-Sprinkler layout.pdf
112 | 43104-1@CHANGCHUN FIS XY@CHENGDU FAE@CHENGDU FIS DFAI@CHONGQING FIS CFAP I@CHONGQING FIS CFAP II@DONGGUAN FIS@FOSHAN FIS XY@HANGZHOU FIS CFAP OLD@NANJING FIS PPV@NINGBO-CIXI@WUHAN FAE@WUHAN FIS@CHENNAI FIS I@PUNE FIS R&D@RAYONG FCM@MLADA BOLESLAV FIS@MERU CREA@HAGENBACH R&D@PEINE R&D@GORZOW I@GORZOW II@LEGNICA FAD@PALMELA FIS@KALUGA FIS@ABRERA FIS@VALENCIA R&D@ORHANGAZI@FRADLEY FIS@PUEBLA FIS Injection@RAMOS ARIZPE FIS@SAN LUIS POTOSI FIS@AUBURN HILLS FIS PPV@FRASER@TUSCALOOSA@MALVINAS@SAO JOSE DOS PINHAIS
113 | 66408@PUEBLA FIS Injection@PUEBLA FIS Accessories@PUEBLA FIS HOWA@PUEBLA FIS Techno@SAN LUIS POTOSI FIS
114 | 27492-1@PUEBLA FIS Injection@PUEBLA FIS Accessories@PUEBLA FIS Techno@RAMOS ARIZPE FIS@SAN LUIS POTOSI FIS@FRASER@LOUISVILLE FIS@SALINE@TUSCALOOSA
115 | 29969-1@PUEBLA FIS Accessories@SALINE
116 | 79247-1
117 | 43069-1@BEIJING@FOSHAN FAS@PUNE FIS Tooling@MLADA BOLESLAV FIS@PARDUBICE@ETUPES FIS@MORNAC@MOUZON@SAINT QUENTIN@HAGENBACH R&D@PEINE@GORZOW I@GORZOW II@LEGNICA AST@ARGES CATEASCA@PITESTI@TALMACIU@HLOHOVEC@KOSICE@ALMUSSAFES FIS@OLMEDO@TARAZONA@VIGO FIS@ZARAGOZA@BURSA Covers@FRADLEY FIS@PUEBLA FIS Injection@PUEBLA FIS Accessories@QUERETARO@RAMOS ARIZPE FIS@SAN LUIS POTOSI FIS@AUBURN HILLS FIS R&D@TUSCALOOSA@GOIANA
118 | 44821-2@ANTING FAS Frames@CHANGSHA FCM@FOSHAN FAS@NANJING FCM JV
119 | 6527-1@HENIN-BEAUMONT
120 | 27789
121 | 27789
122 | 28904-1@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@AUGSBURG Techno@FINNENTROP@HERRENBERG@TERNI@QUERETARO
123 | 1666278-1@LIMEIRA@08/27/2015@Corpo de bombeiros - Polícia Militar de São Paulo@Sompo Seguros Ltda@3 - Good@1666278-1 AVC Val 20 08 2020.pdf
124 | 57612-1@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@AUGSBURG R&D@AUGSBURG R&D Proto@AUGSBURG Techno@HERRENBERG@TERNI@ROERMOND@BRAGANCA@PITESTI@PAMPLONA FCM@FRADLEY FCM@FRADLEY FIS
125 | 44821-2
126 | 211913@CHENNAI FCM Techno@CHENNAI FIS I@PUNE FIS Tooling@RANJANGAON
127 | 44821-1@ANTING FAS Frames@FOSHAN FAS@between 33% and 66%@0180620165157.png
128 | 28545-2
129 | 28545-1@12/28/2016@Fire Bureau , Hsinchu County Government @co-insurance( Fubon Insurance. Cathay Century Insurance...etc)@3 - Good@28545-1_Risk Report.pdf@between 33% and 66%@28545-1_Sprinkler Layout(example).pdf
130 | 29502-2
131 | 168654-1@CHENNAI FCM Techno@CHENNAI FIS I
132 | 122528
133 | 27318-1@CALIGNY Techno@NOGENT SUR VERNISSON@WALBRZYCH Recliners@SAO JOAO DA MADEIRA Frames@03/30/2017@FM Global@FM Global@3 - Good@Segregate the transformer rooms from the production area.@The roofs containing asbestos should be replaced by other non combustible roofs@Provide sprinkler protection throughout the plant.@Provide an adequate and reliable water supply for the sprinkler protection@27318-1_Risk Report.pdf@between 0% and 33%@27318-1_Sprinkler layout.pdf
134 | 122528@ANTING FCM Weigang@ANTING FCM Yuangong@BAOJI@BEIJING@CHENGDU FCM@CHONGQING FCM@DONGGUAN FCM@FOSHAN FAS@MINBEI R&D@NANCHANG@NANJING FCM JV@NINGBO-BEILUN@NINGBO-CIXI@QINGDAO FAS FLS@WUHAN FCM 1@WUHAN FCM 2@WUHAN FCM 3@XIANGYANG FCM@YANTAI@AUGSBURG R&D
135 | 219329
136 | 161571-1@PEINE@STADTHAGEN@KENITRA FAS@SALE@GORZOW I@GORZOW II@GROJEC@SAO JOAO DA MADEIRA Accessories@TALMACIU@BRATISLAVA SAS Cockpit@VALENCIA R&D@BEN AROUS@ESCOBAR@SAN JOSE@03/20/2018@FM Global@FM Global@3 - Good@Composite IBC Solutions - fo lubricants with high flash point@Cable extensions should not be used in series and in case equipment is steadily operated at one spot regular sockets should be installed.@The freezer compartments of refrigerators should be regularly reviewed for icing and should be de-iced when needed.@The quality if the thermographic survey report by the outside provider should be improved.@A&E Europe_Risk Report.docx
137 | 27399-1@PUDONG FAS@HENIN-BEAUMONT@GORZOW I@GORZOW II@09/20/2017@Arno Schmidt@Allianz@4 - Excellent@Improve cooling of electrical cabinets@Improve cooling of one pump@Increase clearance at one machine between machine and stored goods@27399-1_Risk Report.pdf
138 | 43472-1@LIMEIRA@02/20/2018@Grupo Hellner@HDI@3 - Good@The tent should be replaced by a fixed and permanent building, made of non-combustible materials.@New equipment should be labelled and listed before being used. A so-called “PAT testing device (portable appliance test)” should be used.@43472-1_Risk Report.pdf
139 | jrfrj
140 | 28196@PUEBLA FIS Accessories@RAMOS ARIZPE FIS@08/04/2016@AIG@AIG@3 - Good@16-08-01 LOCK CONTROL VALVES OF THE FIRE PROTECTION SYSTEM@16-08-02 IMPROVE THE EXISTING ELECTRICAL INSTALLATION@16-08-06 REMOVE OIL-FILLED VOLTAGE REGULATORS OUT OF SERVICE@LEAR CORPORATION-Latin America-Lear Juarez $28Paseo de la Victoria$29-Juarez-Mexico-Risk Report CP Report-04-Aug-16-587808-v3.pdf
141 | 85605@WUXI@YANCHENG@RAYONG FCM@PARDUBICE@PISEK FAS@BAINS SUR OUST@BRIERES@CERCY@CREVIN FAS@ETUPES FIS@FLERS-EN-ESCREBIEUX@MARCKOLSHEIM@MERU PLANT@MONTBELIARD@NOGENT SUR VERNISSON@PULVERSHEIM@SANDOUVILLE@STADTHAGEN@GROJEC@GROJEC Frames@WALBRZYCH Frames@WALBRZYCH Pneumatic@SAO JOAO DA MADEIRA Frames@VOUZELA@KALUGA FCM@TRNAVA FCM@ALMUSSAFES FCM@MADRID FCM@OURENSE@VALLADOLID@VIGO FCM@QUATRO BARRAS@between 33% and 66%@85605_Sprinkler Layout.jpg
142 | 43580@ANTING FAS Frames@CHANGCHUN FAS Frames@CHANGSHU Temporary@CHENGDU FAE@CHENGDU FAS DFAI@FOSHAN FAS@GUANGZHOU FAS Old@HANGZHOU FIS VOLVO TEMPORARY@PUDONG FAS@TIANJIN FAS Wuqing@WUHAN FAS FGW@WUHAN FAS Frames@MANESAR@YEONGCHEON FAS@PISEK FAS@CALIGNY R&D@NOGENT SUR VERNISSON@STADTHAGEN@GROJEC@WALBRZYCH Frames@SAO JOAO DA MADEIRA Frames@TOGLIATTI FAS@PUEBLA FAS JIT@SAN LUIS POTOSI FAS 1@SAN LUIS POTOSI FAS 2@COTTONDALE@MADISON@STERLING HEIGHTS@ESCOBAR@QUATRO BARRAS@09/27/2012@YUYAO PUBLIC SECURITY OF FIRE CONTROL@Ping An Insurance (Group) Co. of China Ltd@3 - Good@no@消防验收报告.pdf@between 33% and 66%@Layout of sprinkler.pdf
143 | 29502-2@LOUISVILLE FIS@10/05/2017@FM Global@FM Global@3 - Good@Modify the shelves within the rack storage system@Remove all plastic products from storage racking not inside cardboard containers@29502-2_Risk_Report.doc@more than 66%@29502-2_Sprinkler_Layout.doc
144 | 29505-2
145 | 29502-4
146 | 29502-4@PUEBLA FAS Covers
147 | 29502-2
148 | 29502-2
149 | 29502-1@DETROIT DMS@NEWARK SAS@more than 66%@Owosso Certificate of Insurance 6.13.2018.pdf
150 | 28311@AUCHEL@BAINS SUR OUST@CERCY@HENIN-BEAUMONT@MAGNY VERNOIS@MARCKOLSHEIM@MERU CREA@MORNAC@MOUZON@NOGENT SUR VERNISSON@SAINT MICHEL@07/31/2017@FM GLOBAL@FM GLOBAL@3 - Good@SPRINKLAGE@Rapport de visite.pdf
151 | 28892-1@AUCHEL@BAINS SUR OUST@ETUPES FIS@HENIN-BEAUMONT@MERU CREA@MERU CREA 2@MERU PLANT@RENNES FIS@RENNES SAS@SAINT MICHEL@HAGENBACH R&D@WALBRZYCH Headrests@ARGES CATEASCA@PITESTI@TALMACIU@ALMUSSAFES FIS@PORRINO Componentes@VALENCIA R&D@VIGO FIS@PUEBLA FAS Covers@FRASER@between 33% and 66%@28892-1_Sprinkler Lay-out.pdf
152 | 43580
153 | 29985-1@PUEBLA FIS Injection@RAMOS ARIZPE FIS@FRASER@LANSING@SALINE@MALVINAS@07/13/2017@VFP Fire Systems@Hanover@3 - Good@2017 VFP Fire Inspection_Alco Plastics.pdf@between 33% and 66%@29985-1_sprinkler layout.pdf
154 | 32113411
155 | 29502-1
156 | 52221
157 | 29396-1@MARCKOLSHEIM@MORNAC@GORZOW I@ALMUSSAFES SAS
158 | 27738-1@AUCHEL@BAINS SUR OUST@HENIN-BEAUMONT@MARCKOLSHEIM@SAARLOUIS@SCHEUERFELD@ARGES CATEASCA@OLMEDO@ORHANGAZI@FRADLEY FIS
159 | 28446
160 | 28719-1 @AUCHEL@BAINS SUR OUST@ETUPES FIS@HENIN-BEAUMONT@MARCKOLSHEIM@MERU PLANT@MOUZON@SAINT MICHEL@SAINT QUENTIN@SANDOUVILLE@SAARLOUIS@PALMELA SAS@SAO JOAO DA MADEIRA Accessories@ABRERA FIS@ALMUSSAFES SAS@MADRID FAS@OLMEDO@OURENSE@PORRINO Componentes@TARAZONA
161 | 50443-1@BAINS SUR OUST@MERU PLANT@MORNAC@HAGENBACH R&D
162 | 81170-4@LANGFANG
163 | 81170-3@HARBIN
164 | 29013-1
165 | 28204-1@BRIERES@CERCY@CREVIN FAS@ETUPES FIS@FLERS-EN-ESCREBIEUX@HENIN-BEAUMONT@MERU CREA@MERU CREA 2@MONTBELIARD@PULVERSHEIM@SANDOUVILLE@THEILLAY@GROJEC@WALBRZYCH Pneumatic@SAINT PETERSBURG@TOGLIATTI FAS@TRNAVA FAS@ABRERA FIS@VALLADOLID@VITORIA@BURSA METAL & JIT@09/25/2017@Allianz Risk Consulting@Allianz Risk Consulting@3 - Good@Sprinkler Protection@The separation between H/T substation and transformers and the Existence of tank of retention in the transformers @The Fire detection in the transformers @The opening existant between the upper equipment section and the lower cable vault where cable passes through the slab. @No 5th recommendation@Report LEONI TN-Sousse 2017 09 17.pdf
166 | 43898-1
167 | 27224-3@BAKOV@BEAULIEU@MESSEI@AUGSBURG R&D@GROJEC@TOGLIATTI FAS
168 | 80937-1@MLADA BOLESLAV FIS@BAINS SUR OUST@GORZOW I@09/22/2015@Okresné riaditeľstvo Hasičského záchranného zboru v Nitre@GENERALI Slovensko Poisťovňa, a.s.@4 - Excellent@809371_Risk Report.pdf
169 | 81170-2@CHONGQING FIS CFAP I@CHONGQING FIS CFAP II@CHONGQING FIS GN
170 | 56755-1
171 | 43588-1@PARDUBICE@MARCKOLSHEIM@BREMEN@GORZOW I@GORZOW II@LEGNICA AST
172 | 80937-1
173 | 28641-1@ANTING FAS Frames@GUANGZHOU FAS Old@TIANJIN FAS Wuqing@WUHAN FAS Frames@YANCHENG@PUNE FAS@CALIGNY Techno@GROJEC@SAN LUIS POTOSI FIS@06/04/2018@市局环保局，质量监督局，县消防大队@中国大地@2 - Sub-Standard@无@宁波双林汽车部件股份有限公司整改内容.docx@more than 66%@一楼消防平面图.jpg
174 | 277798-1@PILSEN@KOLN@NEUENSTADT@SAARLOUIS@STADTHAGEN@GORZOW I@COTTONDALE@between 0% and 33%@27798-1_Sprinkler Layout.pdf
175 | 2267652
176 | 29404-2@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@LOUISVILLE FCM@LOUISVILLE FIS@more than 66%@1919 Sprinkler.pdf
177 | 80937-1@MLADA BOLESLAV FIS@BAINS SUR OUST
178 | 3227-12@ANTING FCM Yuangong@MADISON@06/14/2018@test@test@1 - Poor@test@AUMNvAS.png@between 0% and 33%@AUMNvAS.png
179 | 4622-1
180 | 27448-1
181 | 69897-5
182 | 69094@GORZOW I@GORZOW II@LEGNICA AST@LEGNICA FAD@HLOHOVEC
183 | 59586-1
184 | 27318-1
185 | 85114
186 | 29013-1@PARDUBICE@MERU CREA@HAGENBACH R&D@GORZOW I@GORZOW II@PALMELA FIS@ARGES CATEASCA@PITESTI@KALUGA FIS@FRADLEY FIS
187 | 1647969@PLUAK DAENG
188 | 0000-110565@BEIJING@RAYONG FCM@more than 66%@110565_Sprinkler Layout.pdf
189 | 81170-1@CHENGDU FAE@CHENGDU FAS Frames@CHENGDU FIS COMBO DFAI AST@CHENGDU FIS DFAI
190 | 28466-1@THEILLAY@more than 66%@SKM_C36818071311140.pdf
191 | 46586-1
192 | 27442@BAINS SUR OUST@PEINE@GORZOW I@PALMELA SAS@ABRERA FCM@OURENSE
193 | 29404-1@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@LOUISVILLE FCM@LOUISVILLE FIS@between 0% and 33%@1220 No Sprinkler.pdf
194 | 28002@MOUZON@LINDAU@WOLFSBURG SAS
195 | 80937-1
196 | 80937-1
197 | 219279-1
198 | 231159-5 @ETUPES FIS@MAGNY VERNOIS
199 | 231159-4 @MORNAC
200 | - 231159-3@MERU CREA@MERU CREA 2@MERU PLANT
201 | 231159-2 @MARCKOLSHEIM@PULVERSHEIM
202 | 231159-1@MOUZON@SAINT MICHEL@VILLERS-LA-MONTAGNE
203 | 28532-1
204 | 29131-1@HANGZHOU FIS CFAP OLD@HANGZHOU FIS CFC OLD@BRAMPTON@HERMOSILLO@SILAO@TOLEDO DMS
205 | 29117-1
206 | 157835-2@AUCHEL@BAINS SUR OUST@CALIGNY Techno@ETUPES FIS@HENIN-BEAUMONT@MERU PLANT@MESSEI@MOUZON@SAINT MICHEL@SAINT QUENTIN@ESELBORN AST@ARGES CATEASCA@ALMUSSAFES FIS@06/21/2018@APAVE@GAN@4 - Excellent@NO RISK@NO RISK@NO RISK@NO RISK@NO RISK@Rapport provisoire et Q18.pdf
207 | 29727-1
208 | 64081-1@BURSA Covers@BURSA METAL & JIT@KOCAELI FCM@KOCAELI SAS@ORHANGAZI@YANIKOY SAS@01/18/2018@Bursa Büyükşehir Belediye Başkanlığı İtfaiye Dairesi Başkanlığı @Aksigorta @4 - Excellent@Air condition system @Fume Dedectors and Alarms @Fire ramps @Sirens @Emergency exit doors@İtfaiye.jpg
209 | 157835-1@AUCHEL@BAINS SUR OUST@CALIGNY Techno@CERCY@ETUPES FIS@HENIN-BEAUMONT@MERU PLANT@MESSEI@MOUZON@SAINT MICHEL@SAINT QUENTIN@ESELBORN AST@PITESTI@ALMUSSAFES FIS
210 | 28585-1@MLADA BOLESLAV FIS@ETUPES FIS@HAMBACH FIS@MERU CREA@MERU CREA 2@MERU PLANT@POISSY FIS@SAINT MICHEL@HAGENBACH R&D@LINDAU@PEINE@SAARLOUIS@KENITRA FAS@GORZOW I@GORZOW II@ABRERA FIS@ALMUSSAFES FIS@OURENSE@VALENCIA R&D@ORHANGAZI@between 33% and 66%@Fire Risk Assessment Sprinklage.pdf
211 | 224708-1@PISEK FAS@NOGENT SUR VERNISSON@GROJEC Frames@SAO JOAO DA MADEIRA Frames@MADRID FAS@VIGO FAS
212 | 28044-1
213 | 28044-1@YANCHENG@09/29/2016@HDI@HDI@3 - Good@continue to improve fire safety protection to production equipment@perform infra-red thermal imaging to electrical equipment@Enhance hot work procedure and practice@improve documentation of natural hazard emergency response plan@28044-1_Risk Report.pdf@more than 66%@28044-1_Sprinkler Layout.pdf
214 | 27700@PISEK FAS@STADTHAGEN@GROJEC@WALBRZYCH Frames@WALBRZYCH Recliners@07/25/2017@HDI Risk Consulting GmbH - Hannover@HDI Global SE - Hannover@2 - Sub-Standard@-@-@-@-@-@Supplier Site Code_Risk Report.pdf
215 | 28136-1@PISEK FAS@PISEK FCM@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@AUGSBURG Techno@FINNENTROP@TERNI@ROERMOND@PALMELA SAS@06/23/2017@Provinzial Versicherung Münster@Provinzial Versicherung Münster@4 - Excellent@smoking ban set up smoking areas@rental vending machine checked by 3rd parties @admission external companny in welding operations in plant@doc10148520180615102452.pdf
216 | 201419@GUANGZHOU FAS Old@RAYONG FCM
217 | 44735@FOSHAN FAS@WUHAN FIS@PUNE FAS@RAYONG FCM@MLADA BOLESLAV FIS@MERU PLANT@PEINE@LEGNICA AST@HLOHOVEC@ABRERA FIS@RAMOS ARIZPE FIS@FRASER@SALINE@between 0% and 33%@VM plant.pdf
218 | 215843@BEIJING@CHONGQING FIS GN@CIXI Wofe@FOSHAN FCM JV@NINGBO-CIXI@WUHAN FAE@YANTAI@QUERETARO@COLUMBUS NORTH@LIMEIRA@more than 66%@新厂房平面图PDF.pdf
219 | 47804-1
220 | 28136
221 | 78292
222 | 46799-1
223 | 44735@CHONGQING FCM@WUHAN FCM 1@RAYONG FCM
224 | 80937-1@MLADA BOLESLAV FIS@BAINS SUR OUST@GORZOW I
225 | 29107-1@BOBLINGEN FIS JIT@LOZORNO II
226 | 67529-1@PLUAK DAENG@PLUAK DAENG Old@RAYONG FCM
227 | 28015-1@RAYONG FCM
228 | 206411@TIANJIN FAS Wuqing@WUHAN FAS FGW
229 | 110017@CORDOBA@SOROCABA
230 | 118204-1
231 | 29942-1@PUEBLA FAS Covers@RAMOS ARIZPE FAS@RAMOS ARIZPE FIS@AUBURN HILLS FIS PPV@CLEVELAND@COTTONDALE@LANSING@LOUISVILLE FCM@MADISON@SALINE@STERLING HEIGHTS@TUSCALOOSA@ESCOBAR
232 | 27537-1
233 | 28532-1 @SCHEUERFELD@LEGNICA FAD@between 33% and 66%@GIC.jpg
234 | 27224-4
235 | 29504-1@MORNAC@MOUZON@OLMEDO
236 | 28532-1
237 | 206411
238 | 29673-1@ANTING FCM Weigang@BEIJING@CHENGDU FCM@CHONGQING FCM@CIXI Wofe@DONGGUAN FCM@FOSHAN FCM Wofe@WUHAN FCM 1@PUNE FCM@PLUAK DAENG@BAKOV@MESSEI@AUGSBURG R&D@TERNI@ROERMOND@VALENCIA R&D@WASHINGTON@BRAMPTON@HERMOSILLO@QUERETARO@SILAO@CHATTANOOGA@COLUMBUS NORTH@FRANKLIN@TAYLOR@TOLEDO DMS@LANUS@LIMEIRA
239 | 27700-1
240 | 27224@BAKOV@BAVANS@BEAULIEU@AUGSBURG Techno@BRAGANCA@PAMPLONA FCM@VIGO FCM
241 | 27224@QUERETARO@more than 66%@Presentation DBW Polska_EN_layout.pdf
242 | 27685-1@MARCKOLSHEIM@MERU CREA@MERU CREA 2@MERU PLANT@HAGENBACH R&D@ESELBORN AST@LEGNICA AST@LEGNICA FAD@PALMELA FAS@PALMELA FIS@PALMELA SAS@SAO JOAO DA MADEIRA Accessories@SAO JOAO DA MADEIRA Frames@ABRERA FCM@ABRERA FIS@ALMUSSAFES FCM@ALMUSSAFES FIS@ALMUSSAFES SAS@OLMEDO@OURENSE@TARAZONA@VALENCIA R&D@WASHINGTON@03/06/2017@ALLIANCE@ALLIANCE@3 - Good@01.17.F: DETECCIÓN AUTOMÁTICA DE INCENDIOS en algunas zonas@02.17.H: PREVENCIÓN EN EL ALMACENAJE en algunos puntos@03.17.F: SALA DE BOMBAS DE PROTECCIÓN CONTRA INCENDIOS (mejora)@27685-1_risk report.docx
243 | 27765-1 @MORNAC@MOUZON@MOUZON R&D@MOUZON R&D Acoustique@VIGO FIS
244 | 27224-2
245 | 29410-1@FRASER@SALINE@more than 66%@YFT_SprinklerLayout_20180525.pdf
246 | 100971@FINNENTROP@ROERMOND
247 | 100971@BAKOV@MLADA BOLESLAV FCM Bezdecin@BEAULIEU@MESSEI@AUGSBURG Techno@FINNENTROP@BRAGANCA@TOGLIATTI FCM@TRNAVA FCM@ZILINA@ALMUSSAFES FCM@PAMPLONA FCM@VIGO FCM
248 | 43557-1@BAKOV@MLADA BOLESLAV FCM Nadrazni@PISEK FCM@NYBORG@MESSEI@AUGSBURG Techno@HEILBRONN@HERRENBERG@LEIPZIG FCM@ROERMOND@GROJEC@BRAGANCA@CRAIOVA@PAMPLONA FCM@VALENCIA R&D@ZARAGOZA@FRADLEY FCM@QUERETARO@CHATTANOOGA@more than 66%@CKBE-Sprinklers layout.pdf
249 | 29673-2
250 | 29673-1@ANTING FCM Weigang@BEIJING@CHANGCHUN FCM@CHENGDU FCM@CHONGQING FCM@DONGGUAN FCM@GUANGZHOU FAS Old@NANCHANG@NINGBO-CIXI@TIANJIN FAS Wuqing@WUHAN FCM 1@PUNE FCM@RAYONG FCM@BAKOV@MLADA BOLESLAV FCM Bezdecin@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D Proto@FINNENTROP@ROERMOND@BRAGANCA@TOGLIATTI FCM@TRNAVA FCM@ZILINA@ALMUSSAFES FCM@PAMPLONA FCM@VIGO FCM@BRAMPTON@HERMOSILLO@QUERETARO@SILAO@COLUMBUS NORTH@FRANKLIN@LOUISVILLE FCM@TAYLOR@TOLEDO DMS@LANUS@LIMEIRA
251 | 1641862-1@CORDOBA@LIMEIRA
252 | 83045-2@CLEVELAND@TROY FCM@more than 66%@83045-2_Sprinkler Layout.jpg
253 | 27321-3@HLOHOVEC
254 | 27321-2@MERU PLANT@NEUBURG@11/14/2016@Inšpektorat RS za varstvo pred naravnimi in drugimi nesrečami@Zavarovalnica Triglav@3 - Good@Updating the document of fire preventive@Measurements of lightning installation@Measurements of electrical installation@Resetting fire extinguishers@Mengeš.pdf
255 | 27321-1@MLADA BOLESLAV FIS@MERU PLANT@MOUZON@BRATISLAVA SAS Cockpit@02/23/2015@Inšpektorat RS za varstvo pred naravnimi in drugimi nesrečami@Zavarovalnica Triglav@3 - Good@Updating the document for fire regulation.@Updating the extract of fire regulation.@Škofja loka.pdf
256 | 29410-1
257 | 448211
258 | 217236@LANGFANG
259 | 29410-2 @FRASER@SALINE@more than 66%@29410-2_sprinkler layout.pdf
260 | 28046@PISEK FCM@NOGENT SUR VERNISSON@WALBRZYCH Frames@SAO JOAO DA MADEIRA Frames@MADRID FCM
261 | 29410-1 @FRASER@SALINE
262 | 247335-1@PISEK FAS@BRIERES@CERCY@CREVIN FAS@FLERS-EN-ESCREBIEUX@MAGNY VERNOIS@NOGENT SUR VERNISSON@PULVERSHEIM@VILLERS-LA-MONTAGNE@KENITRA FAS@SALE@GROJEC Frames@JELCZ@WALBRZYCH Frames@SAO JOAO DA MADEIRA Frames@TALMACIU@KALUGA FCM@TOGLIATTI FCM@MADRID FAS@VALLADOLID@BEN AROUS@SAN LUIS POTOSI FAS 2@ESCOBAR@MALVINAS@PORTO REAL FAS@QUATRO BARRAS@SAO JOSE DOS PINHAIS@09/17/2015@VERSPIEREN@VERSPIEREN@3 - Good@247335.pdf
263 | 48322@TOGLIATTI FAS
264 | 28918@BRIERES@CERCY@CREVIN FAS@MONTBELIARD@STADTHAGEN@GROJEC Frames@GROJEC R&D@WALBRZYCH Frames@SAO JOAO DA MADEIRA Frames@KALUGA FIS@TOGLIATTI FAS@VIGO FAS
265 | 43898-1
266 | 203047-1@PISEK FCM@BEAULIEU@MESSEI@AUGSBURG Techno@BRAGANCA@VIGO FCM@07/22/2017@Call Us HR Solutions@Tata AIG General Insurance Company Ltd.@3 - Good@There should be hood cover on fire extinguishers stand@There should be operating system and serial number displayed on fire extinguishers and wall.@Backside of fire extinguisher there must be yellow with black color zebra marking@windsock shall be there@Shall have the walkway path in company premises & speed breaker for road safety@205527_risk report.pdf
267 | 43456-2
268 | 211229-1@CHENNAI FCM Techno@MLADA BOLESLAV FCM Bezdecin@BRAGANCA
269 | 44821@ANTING FAS Frames@ANTING FCM Weigang@ANTING FCM Yuangong@CHANGSHA FCM@GUANGZHOU FAS Old
270 | 211229-1@CHENNAI FCM Techno
271 | 83045-1@CLEVELAND@TROY FCM@more than 66%@83045-1_Sprinkler Layout.pdf
272 | 1646431-2@CORDOBA
273 | 1646431-1
274 | 45090-1
275 | 28988-1@BRAGANCA@HERMOSILLO@QUERETARO@SILAO@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@LOUISVILLE FCM@LOUISVILLE FIS@04/01/2018@Local Fire Department@Private@3 - Good@Reduce Heights on storage of pallets@FIRE DEPARTMENT REPORT.pdf@more than 66%@SPRINKLER SYSTEM.pdf
276 | 29447-1
277 | 44813-1@CHANGCHUN FCM@FOSHAN FCM JV@NANJING FCM JV@NINGBO-BEILUN
278 | 76977-1@ANTING FCM Yuangong@BEIJING@CHANGCHUN FCM@CHENGDU FCM@FOSHAN FCM Wofe@NANCHANG@QINGDAO FCM OLD@JANGAN Techno@YEONGCHEON FCM@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@AUGSBURG R&D Proto@AUGSBURG Techno@TERNI@ROERMOND@BRAGANCA@PAMPLONA FCM@LANUS@LIMEIRA@more than 66%@Layout.pdf
279 | 29949-1@ANTING FCM Yuangong@BAOJI@BEIJING@CHANGSHA FCM@CHENGDU FCM@CHONGQING FCM@DONGGUAN FCM@NANCHANG@NANJING FCM JV@NINGBO-BEILUN@NINGBO-CIXI@QINGDAO FCM OLD@YANTAI@TANJUNG MALIM@RAYONG FCM@LANUS@LIMEIRA@03/13/2018@China PING AN@China PING AN Insurance (Group) Incorporated Company@4 - Excellent@29949-1中国平安财产综合险保单.jpg@more than 66%@Layout of sprinkler protected zones.jpg
280 | 60115-1@CHONGQING FCM@QUERETARO@SAN JOSE ITURBIDE@SILAO@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@FORT WAYNE@FRANKLIN@TAYLOR@TROY FCM@more than 66%@PLANT LAYOUT 1-25-17-Model.pdf
281 | 29131-1@HANGZHOU FIS CFAP OLD@HANGZHOU FIS CFC OLD@HANGZHOU FIS VOLVO TEMPORARY@BRAMPTON@HERMOSILLO@SILAO@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@FORT WAYNE@FRANKLIN@TAYLOR@TOLEDO DMS@TOLEDO Techno
282 | 28901-1@BOBLINGEN FIS JIT@BREMEN@PEINE@GORZOW I@GORZOW II@LEGNICA AST@LEGNICA FAD
283 | 1657691-1@TOGLIATTI FCM
284 | 1640911-1@TOGLIATTI FAS
285 | 28166-2@BRAGANCA@PAMPLONA FCM@VIGO FCM
286 | 29727-1@CHANGCHUN FAS Frames@CHENNAI FAS@PARDUBICE@PILSEN@PISEK FAS@FLERS-EN-ESCREBIEUX@NEUBURG@NEUENSTADT@STADTHAGEN@GROJEC Frames@WALBRZYCH Frames@SAO JOAO DA MADEIRA Frames@LOZORNO I@LOZORNO II@TRNAVA FAS@BANBURY@SAN LUIS POTOSI FAS 1@SAN LUIS POTOSI FAS 2@more than 66%@Not available.docx
287 | 44444444
288 | 28166-1@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@HEILBRONN@TERNI@ROERMOND@BRAGANCA@PAMPLONA FCM@VIGO FCM@more than 66%@Supplier Site Code_Sprinkler Layou.JPG
289 | 28477-1
290 | 28951-1@MLADA BOLESLAV FIS@BAINS SUR OUST@ETUPES FIS@MERU CREA@SAINT MELOIR@AUGSBURG R&D@HAGENBACH R&D@NEUBURG R&D@PEINE R&D@GORZOW I@ABRERA FIS@OURENSE
291 | 28747-1
292 | 28209@PARDUBICE@NOGENT SUR VERNISSON@LEIPZIG SAS@NEUBURG@PEINE@STADTHAGEN@ZWICKAU SAS@GROJEC@PALMELA SAS@SAO JOAO DA MADEIRA Accessories@TALMACIU@BRATISLAVA SAS Cockpit@ARAZURI SAS@PAMPLONA FAS@VALENCIA R&D@PUEBLA SAS@COTTONDALE@11/23/2015@Fireprotection Company Kummer@Allianz@3 - Good@Fire resistant housing of the energy supply in the cellar@Missing Fire Doors in Cellar@renewal of the smoke detectors in the production@Some Areas like the Quality department are not connected Fire detectors@Marking of the automatic fire gates are not sufficient@BSK 2015_11_Kum_Rev_00_mit Plänen.pdf@between 0% and 33%@sprinkler layout.pdf
293 | 11111-2@PUEBLA FIS Techno@SAN JOSE ITURBIDE@SAN LUIS POTOSI FAS 2@TAYLOR@CORDOBA
294 | 1663072-1@between 33% and 66%@20180511_082030 (1).jpg
295 | 129235-1@BAVANS
296 | 49889-1@ARGES CATEASCA@PITESTI@RAMNICU VALCEA@TALMACIU@12/28/2017@INSPECTORATUL PENTRU SITUATII DE URGENTA@ALLIANZ TIRIAC@4 - Excellent@NO RECOMMENDATION@Supplier Site Code 49889-1 Risk Report.PDF@between 33% and 66%@Supplier Site Code 49889-1 Sprinkler Layout1.pdf
297 | 80124@MERU PLANT@VILLERS-LA-MONTAGNE@WALBRZYCH Frames@MADRID FCM@WASHINGTON
298 | 29439-1@PARDUBICE@MOUZON@GROJEC@LEGNICA AST@KALUGA FCM@WASHINGTON
299 | 28455-1
300 | 28015-1
301 | 28249-1@SAINT MICHEL@ABRERA FIS@ALMUSSAFES FIS@TARAZONA@05/08/2018@OTP@LIBERTY INSURANCE@3 - Good@REVIEW INFORM @simulacro 2018 Matridos.pdf@between 33% and 66%@simulacro 2018 Matridos.pdf
302 | 46157-1@ANTING FCM Weigang@BEIJING@CHENGDU FCM@CHENGDU FIS CFC Old@CIXI Wofe@NINGBO-BEILUN@NINGBO-CIXI@BAKOV@PISEK FCM@MERU CREA@AUGSBURG R&D@ABRERA FCM@QUERETARO@FRANKLIN
303 | 1643170-1@LIMEIRA
304 | 116656-1@MLADA BOLESLAV FCM Bezdecin@AUCHEL@BEAULIEU@CERCY@CREVIN FAS@FLERS-EN-ESCREBIEUX@HENIN-BEAUMONT@MERU PLANT@MESSEI@SAO JOAO DA MADEIRA Frames@02/01/2017@SCUTUM INCENDIE@MSIG insurance Europe AG@3 - Good@No recommandation@116656-1_Risk Report.pdf
305 | 116656-1
306 | 28721-1
307 | 58344-1@MLADA BOLESLAV FIS@PEINE@JELCZ@PALMELA FIS
308 | 49889-1@ARGES CATEASCA@PITESTI@RAMNICU VALCEA@TALMACIU
309 | 228626-1@RAYONG FCM@between 33% and 66%@228626-1_sprinkler layout.jpg
310 | 70174-1@WALBRZYCH Pneumatic
311 | 58344-1
312 | 66264-1@TANJUNG MALIM@PLUAK DAENG
313 | 65679-1@GORZOW I@GORZOW II@LEGNICA AST@LEGNICA FAD@between 0% and 33%@65679-1_Sprinkler Layout.pdf
314 | 28747-1@PARDUBICE@BAINS SUR OUST@ETUPES FIS@MARCKOLSHEIM@MOUZON@MOUZON R&D@MOUZON R&D Acoustique@SAINT QUENTIN@ESELBORN AST@LEGNICA AST@ARGES CATEASCA@OLMEDO@08/22/2017@FM GLOBAL – Régis CLUSERET @FM GLOBAL@3 - Good@Extend protection to hazardous areas that are currently unprotected by the existing system@Install sprinkler protection in the electrical rooms@Reduce the fire hazard on hydraulic units@Reinforce storage practices of 1,000-L plastic containers filled with ignitable liquids@Provide sprinkler protection in the digital printer casing.@Customer Report Clervaux LU0053.00-01 August 2017.pdf@more than 66%@Tarkett GDL - Lentweiler plan.pdf
315 | 75538-1
316 | 28431-1@RAYONG FCM@MERU PLANT@MOUZON@BREMEN@HAGENBACH R&D@HEILBRONN@KOLN@NEUBURG@NEUENSTADT@PEINE@RASTATT@SAARLOUIS@SCHEUERFELD@STADTHAGEN@ESELBORN AST@LEGNICA FAD@BRATISLAVA SAS Console@HLOHOVEC@KOSICE@ALMUSSAFES SAS@OLMEDO@TARAZONA@VALENCIA R&D@VALLADOLID@ZARAGOZA@between 33% and 66%@CON4C3E7C8A.PDF
317 | 1647977-1@PLUAK DAENG@PLUAK DAENG Old@more than 66%@Warehouse Sprinkler.pdf
318 | 103221@ETUPES FIS@BOBLINGEN FIS JIT@GORZOW I@PALMELA FAS@KOSICE@VALENCIA R&D@CORDOBA
319 | 27895-1@MORNAC@MOUZON@between 0% and 33%@13-002-04 Pianta edificio B.pdf
320 | 103221
321 | 71327-1@PUEBLA FIS HOWA@PUEBLA FIS Techno@02/07/2018@INBURSA@INBURSA @2 - Sub-Standard@CLEAN AND HOUSE KEEPING WAREHOUSE@MOVE THE WAREHOUSE FOR GAS @Damaged In surance.pdf@more than 66%@CAZEL PCI.PDF
322 | 28851-1@SILAO@AUBURN HILLS FIS PPV@COTTONDALE@FRANKLIN@LANSING@LOUISVILLE FIS@STERLING HEIGHTS@more than 66%@Map.pdf
323 | 29925-1@QUERETARO@SILAO@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@TROY FCM@more than 66%@Fire Sprinkler Map - Bldg. B Rev.1.docx
324 | 28795-1@BRAMPTON@HERMOSILLO@QUERETARO@SILAO@ARLINGTON@COLUMBUS NORTH@DEXTER Arvin Road@FORT WAYNE@FRANKLIN@TAYLOR@TOLEDO DMS@TROY FCM@more than 66%@Sprinklers Quarterly Test - January 2018.pdf
325 | 85276-1@TOGLIATTI FCM@06/23/2016@ООО НТЦ "Пожарная безопасность"@Акционерное общество "Страховое общество газовой промышленности" (АО "СОГАЗ")@4 - Excellent@Заключить договор с организацией, имеющей соответствующие лицензии и свидетельства, на выполнение работ по проведению эксплуатационных испытаний наружных пожарных лестниц@Заключить договор со специализированной организацией на проведение расчета необходимого количества огнетушителей@Заделать технологические отверстия негорючим материалом, обеспечивающим требуемый предел огнестойкости@Закупить и установить недостающие знаки, таблички по пожарной безопасности@Не допускать ограничения доступа к системам противопожарной защиты@ЗАКЛЮЧЕНИЕ НОР ГК ФЕРРИТ 2016.pdf
326 | 27224@FOSHAN FAS@BAKOV@MLADA BOLESLAV FCM Bezdecin@BAVANS@BEAULIEU@MESSEI
327 | 29243-1@TOGLIATTI FCM@11/14/2017@ООО "ТехИнСПАС"@Акционерное Общество "АИГ страховая компания" (АО "АИГ")@3 - Good@Отсутствует система противодымной защиты из коридоров здания АБК длинной более 15м и без естественного проветривания (п.7.2."в" СП 7.13130.2013)@Supplier Site 29243-1_Risk Report.pdf
328 | 224599-1@ANTING FCM Weigang@ANTING FCM Yuangong@BEIJING@CHONGQING FCM@NINGBO-BEILUN@QINGDAO FCM OLD@WUHAN FAS Frames@YANTAI@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@AUGSBURG R&D@BRAGANCA@PAMPLONA FCM@QUERETARO@LIMEIRA
329 | 27033-1@LIMEIRA
330 | 45079@LANUS@MALVINAS
331 | 28860-1@ETUPES FIS@RENNES SAS@THEILLAY@CRAIOVA@BRATISLAVA SAS Cockpit@LOZORNO I@MADRID FAS@more than 66%@28860-1 Sprinkler Layout.jpg
332 | 1669039-3@THEILLAY
333 | 1669039-2@THEILLAY
334 | 30054-1@TANJUNG MALIM@JANGAN R&D@JANGAN Techno@YEONGCHEON FAS@YEONGCHEON FCM@QUERETARO@SAN JOSE ITURBIDE@SILAO@COLUMBUS NORTH@LOUISVILLE FCM
335 | 28026-2@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@AUGSBURG Techno@ROERMOND@BRAGANCA@PAMPLONA FCM@VIGO FCM
336 | 11111-1@CERCY@MAGNY VERNOIS@THEILLAY@AUGSBURG R&D Proto@LINDAU@ROERMOND@LEGNICA AST@CRAIOVA@ABRERA FIS@OURENSE@PAMPLONA FCM@08/15/2016@Risk Prevention Experts@Best Insurance Co.@3 - Good@Extend RIA system to storage 2@logo.jpg@more than 66%@logo.jpg
337 | 25136-1@PURWAKARTA@RAYONG FCM@LIMEIRA@06/21/2017@Global Risk@Zurich@3 - Good@Combustible Roof Improvement@Automatic Sprinkler Installation@Relocate the Battery Chargers or Move Away the Combustible Materials@Relocate Outside Combustible Material Storage@Automatic Shutdown for Hydraulic Machines@F92130513_170621LPR.PDF
338 | 28026-1@ANTING FCM Yuangong@BEIJING@CHANGCHUN FCM@CHONGQING FCM@FOSHAN FCM JV@NANCHANG@NANJING FCM JV@NINGBO-BEILUN@NINGBO-CIXI@QINGDAO FCM OLD@WUHAN FCM 1@WUHAN FCM 2@WUHAN FCM 3@YANTAI@BANGALORE Techno@CHENNAI FCM Techno@PUNE FCM@RAYONG FCM@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D Proto@AUGSBURG Techno@ROERMOND@BRAGANCA@KALUGA FCM@TOGLIATTI FCM@PAMPLONA FCM@VIGO FCM@QUERETARO@SILAO@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@LANUS@LIMEIRA
339 | 166689-1@GOIANA@LIMEIRA
340 | 888@KENNELBACH
341 | 29260-1@BRAMPTON@ARLINGTON@DEXTER Arvin Road@DEXTER North Harris@FORT WAYNE@FRANKLIN@TAYLOR@TROY FCM@more than 66%@Building_Plant Layout.pdf
342 | 1685094-1@SAINT MELOIR
343 | 85265-1@TOGLIATTI FCM@11/07/2017@HDI Risk Consulting@OOO "Strakhovaya Kompaniya "HDI Strakhovanie"@3 - Good@Improve IT availability@Separate storage building from production buildings@Improve Lighting@Improve and maintain hydraulic hoses - done@Fire hoses, Access, Signing, fixation - done@Witzenmann RUS Ufa 17 2275.pdf
344 | 28924@WUXI@more than 66%@layout.pdf
345 | 47565@ANTING FCM Weigang@CHANGCHUN FCM@CHENGDU FCM@CHONGQING FCM@FOSHAN FCM JV@NANCHANG@WUHAN FCM 1@TANJUNG MALIM@BAKOV@PISEK FCM@BAVANS@AUGSBURG R&D@ROERMOND@TOGLIATTI FCM@VIGO FCM@FRADLEY FCM@BRAMPTON@QUERETARO@CHATTANOOGA@DEXTER Arvin Road@FRANKLIN@TOLEDO Techno@between 33% and 66%@思明汽车科技股份有限公司消防布局图及路线.pdf
346 | 25283@LIMEIRA
347 | 65907-2
348 | 1669041-1@THEILLAY@03/30/2016@Generali@Union industriel@4 - Excellent@Gas Detection @Change damage storage racks@Sprinkler system @Action plan for the electrical installation conformity@Control room : electrical cabinet closure@Loss Prevention Report_POC_Tournon (30 03 2016).pdf@more than 66%@A1T217-SH05-A-ZONING.pdf
349 | 1685094-1
350 | 27529-1@THEILLAY@11/02/2017@AON Sweden AB@AON Sweden AB@4 - Excellent@improve gas detection@Site classé Seveso.docx@more than 66%@Site classé Seveso.docx
351 | 28634-1@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FAS@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D Proto@FINNENTROP@TERNI@ROERMOND@BRAGANCA@PAMPLONA FCM@VIGO FCM@CORDOBA@06/07/2017@Allianz Risk Consultants@Allianz Risk Consultants@2 - Sub-Standard@EPS Panelling – Protection the Hazard@Prohibit Future Combustible Construction@Flood Mitigation@Automatic Sprinkler Protection- Extend Sprinklers@Smoking Behaviours@Cape Town 2017 Draft Audit Report.pdf@more than 66%@2 - ASIB Report 21-04-2017.pdf
352 | 252137-1@LIMEIRA
353 | 129064-1
354 | 28397-1@LIMEIRA@03/14/2018@FM GLOBAL@FM GLOBAL@2 - Sub-Standard@Remove the plastic material stored in the Idle Pallets Warehouse@Improve the fire protection inspection and test procedures. @Implement a formal maintenance inspection program for the reactor.@Perform regular functional tests on the combustion safeguards of gas-fired equipment.@Improve the fire safety at the Flammable Liquids Warehouse.@FM Global.pdf@between 33% and 66%@CAD1080_A.pdf
355 | 166465-1@COLUMBUS NORTH@10/27/2015@Selective Insurance@Selective Insurance@4 - Excellent@risk assessment.pdf@more than 66%@sprinkler locations.pdf
356 | 60301-1@BEIJING@HERMOSILLO@QUERETARO@COLUMBUS R&D@COLUMBUS SOUTH
357 | 60301
358 | 28271-1@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FAS@BAVANS@BEAULIEU@MESSEI@AUGSBURG Techno@HERRENBERG@ROERMOND@GROJEC@BRAGANCA@VIGO FIS@FRADLEY FIS@LANUS@SAO BERNARDO DO CAMPO
359 | 28666-1
360 | 85542-1@CORDOBA@LIMEIRA@PORTO REAL FIS@QUATRO BARRAS
361 | 169052-1@LIMEIRA@02/10/2015@CORPO DE BOMBEIROS@BRADESCO AUTO/RE COMPANHIA DE SEGUROS@3 - Good@Não houve recomendações@Rovemar_cod169052-1_Risk Report.pdf
362 | 29377-2
363 | 29377-1@CHONGQING FIS GN@BRAMPTON@HERMOSILLO@QUERETARO@SAN JOSE ITURBIDE@SILAO@COLUMBUS NORTH@COLUMBUS SOUTH@DEXTER Arvin Road@FORT WAYNE@FRANKLIN@LOUISVILLE FCM@TAYLOR
364 | 11111
365 | 55748@CERCY@FLERS-EN-ESCREBIEUX@VALLADOLID@05/24/2016@ALLİANZ@AXA - URAY SİGORTA@3 - Good@Grinding Machines / Places for grinding machines installed outside of the mechanical workshop should be designed adequately. In a certain distance no combustibles should be presents or those combustibles should be sufficiently shielded. It is referred to the alongside picture.@Pump Station / The pump station should be fitted with a low temperature sensor, which indicates a supervisory signalization at a permanently occupied room if temperature is less than 5°C. (Remark: According to NFPA this is required additionally to the installed heating system.)@Battery Charging / Battery charging stations should be kept clear in a distance of 2,50 m from any fire load and no combustibles should be stored above such charging stations. The area above charging stations should be kept clear from combustibles. Alternatively fire retardant boards might be set up between charging stations and any combustible storage, if appropriate. The charging area including needed detachment should be marked by a border line on the floor. Wooden pallets (or similar combustible things) must not be used as pad / platform for charging stations.@Explosive atmospheres risks: ATEX directive / We recommend conducting an ATEX study.@Pressure Gauges / Proper function of the pressure gauge installed in the suction pipes of the fire pumps should be ensured. (Remark: Obviously function of those gauges is not correct, as the actual pressure always was indicated as “0,20 bar”, regardless if no-flow conditions or 150 % of rated capacity.)@Allianz-Bursa Accessories & Covers-TUR0599-PRE2016.pdf@more than 66%@metal sprinkler.pdf
366 | 57631-157631-1@CHENNAI FCM Techno@ROERMOND@QUERETARO@LOUISVILLE FCM
367 | 59288-1@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FAS@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@AUGSBURG Techno@TERNI@ROERMOND@GROJEC@BRAGANCA@TOGLIATTI FCM@PAMPLONA FCM@VIGO FCM@09/05/2011@Italian Fire Fighter of Conegliano / Studio Project sas@ALLIANZ SPA@2 - Sub-Standard@integration of documentation@solais_relazione a VVFF_05.09.2011.pdf@more than 66%@solais vvf piantina antincendio 05.09.11.pdf
368 | 1659381-1@SAINT MELOIR@THEILLAY@08/06/2015@GENERALI @GENERALI@3 - Good@SEE REPORT AUDIT@Last audit report .docx@more than 66%@Layout sprinkler.docx
369 | 193766
370 | 1659381-1
371 | 26026-1
372 | 29304-1@HERMOSILLO@QUERETARO@SAN JOSE CHIAPA PUEBLA@SILAO@CHATTANOOGA@COLUMBUS SOUTH@DEXTER North Harris@FRANKLIN@LOUISVILLE FCM@TAYLOR@TOLEDO DMS@06/28/2017@CNA Insurance@CNA Insurance@3 - Good@Add fire supression systems to the receiving docks and Department 45. @Pridgeon and Clay LOR 8-2017.pdf@more than 66%@Plant Fire Suppression drawing.pdf
373 | 29304-2@BRAMPTON@QUERETARO@CHATTANOOGA@COLUMBUS NORTH@COLUMBUS SOUTH@DEXTER Arvin Road@FRANKLIN@TOLEDO DMS@12/09/2017@CNA Risk Control@CNA Risk Control@4 - Excellent@Eliminate the use of the plastic returnable containers@917 Visit LOC - Franklin (4).docx@more than 66%@FRK Fire Protection 2.pdf
374 | 27407-2@MLADA BOLESLAV FCM Bezdecin
375 | 193766
376 | 27407-2@MLADA BOLESLAV FCM Bezdecin
377 | 1669039@THEILLAY@between 0% and 33%@20180417104554.pdf
378 | 1669039
379 | 70265-1@ANTING FCM Weigang@BEIJING@CHENGDU FCM@CIXI Wofe@DONGGUAN FCM@FOSHAN FCM JV@FOSHAN FCM Wofe@NANCHANG@NINGBO-BEILUN@NINGBO-CIXI@WUHAN FCM 1@WUHAN FCM 2@WUHAN FCM 3@CHENNAI FCM Techno@TANJUNG MALIM@RAYONG FCM@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BEAULIEU@MESSEI@AUGSBURG R&D Proto@HERRENBERG@TERNI@ROERMOND@BRAGANCA@PAMPLONA FCM@FRADLEY FCM@SAN JOSE ITURBIDE@COLUMBUS NORTH@LIMEIRA
380 | 28634-4@CHENNAI FCM Techno@12/30/2017@Hitech Enviro Enginners & Consultant Pvt. Ltd @Allianz Risk Consultants@3 - Good@An automatic fire protection system is not available in major part of the building.@Scrap yard has no automatic fire protection system to overcome any fire incident occurred during non occupancy span@An automatic fire protection system is not available in major part of the building@Draft Report_3_NFPA.pdf
381 | 26026-1
382 | 26026-1@WUXI
383 | 28634-3@ANTING FAS Frames@CHONGQING FIS CFC OLD@KYUSHU FNK@YEONGCHEON FCM
384 | 28026-1@ANTING FAS Frames@ANTING FCM Weigang@CHENNAI FIS I@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@MESSEI@AUGSBURG R&D Proto@AUGSBURG Techno@ROERMOND@BRAGANCA@KALUGA FCM@TOGLIATTI FCM@PAMPLONA FCM@VIGO FCM@04/03/2018@ccc@ccc@3 - Good@q@q@q@q@q@IBIDEN NDA.PDF@more than 66%@IBIDEN NDA.PDF
385 | 29357-1@QUERETARO@SILAO@ARLINGTON@DEXTER Arvin Road@LOUISVILLE FCM@TOLEDO DMS@TROY FCM
386 | 67012-1@HERMOSILLO@QUERETARO@SILAO@COLUMBUS NORTH@COLUMBUS R&D@DEXTER Arvin Road@LOUISVILLE FCM@TOLEDO DMS@more than 66%@Plant Layout.pdf
387 | 29304-1@HERMOSILLO@QUERETARO@SAN JOSE CHIAPA PUEBLA@SILAO@CHATTANOOGA@COLUMBUS SOUTH@DEXTER North Harris@FRANKLIN@LOUISVILLE FCM@TAYLOR@TOLEDO DMS@TOLEDO Techno@02/13/2018@CNA Insurance@CNA Insurance@3 - Good@Add fire supression systems to the receiving docks and Department 45. @Pridgeon and Clay LOR 8-2017.pdf
388 | 67012-1
389 | 67012-1
390 | 59288-1@BAKOV@MLADA BOLESLAV SAS Skoda@AUGSBURG R&D@TERNI@ROERMOND@BRAGANCA@CRAIOVA@TOGLIATTI FCM@VIGO FCM
391 | 166465-1
392 | 28476
393 | 28476
394 | 28634-2@CORDOBA@CAMACARI@LIMEIRA
395 | 1643926@TOGLIATTI FAS@between 0% and 33%@Doc2.docx
396 | 1685092@SAINT MELOIR
397 | 28026-1
398 | 59288-1
399 | 48475-1
400 | 65905@BEIJING@YANTAI@11/10/2017@TUV Rheinland @PICC Property and Casualty Co.,Ltd@4 - Excellent@消防控制室值班人员应取得构建筑物消防员资格@消防泵的控制开关打在手动挡，自动挡失效，应考虑突发情况的应急方案@1.jpg@between 33% and 66%@一楼.jpg
401 | 30054-1@TANJUNG MALIM@JANGAN R&D@YEONGCHEON FAS@YEONGCHEON FCM@QUERETARO@SAN JOSE ITURBIDE@SILAO@LOUISVILLE FCM
402 | 57631-157631-1
403 | 28858@JANGAN R&D@05/09/2017@Korea Standard Management, Quality Assureance@3 - Good@Authorized to suitable for the standard management System@Invironment Management System.pdf@between 33% and 66%@Layout.JPG
404 | 44809-1@ANTING FAS Frames@ANTING FCM Weigang@ANTING FCM Yuangong@BEIJING@CHENGDU FAE@CHENGDU FAS DFAI@CHENGDU FAS Frames@CHENGDU FCM@CHENGDU FCM JV@CHENGDU FIS CFC Old@CHENGDU FIS COMBO DFAI AST@CHENGDU FIS COMBO VOLVO@CHENGDU FIS DFAI@DONGGUAN FCM@DONGGUAN FIS@FOSHAN FAS@FOSHAN FCM JV@FOSHAN FCM Wofe@FOSHAN FIS R&D@FOSHAN FIS XY@FOSHAN FIS XY AST@NANCHANG@NANJING FCM JV@NANJING FIS PPV@NINGBO-BEILUN@NINGBO-CIXI@QINGDAO FAS FLS@QINGDAO FCM OLD@WUHAN FAE@WUHAN FAS FGW@WUHAN FAS Frames@WUHAN FCM 1@WUHAN FCM 2@WUHAN FCM 3@WUHAN FIS@WUHAN FIS AST@XIANGYANG FAS@XIANGYANG FCM@YANTAI
405 | 18583@JANGAN R&D@JANGAN Techno@YEONGCHEON FCM@YONGIN R&D
406 | 29907-1@JANGAN R&D@JANGAN Techno@YEONGCHEON FAS@YEONGCHEON FCM@YONGIN R&D
407 | 29777@JANGAN R&D@YEONGCHEON FAS@YEONGCHEON FCM@YONGIN R&D
408 | 18576@JANGAN R&D@JANGAN Techno@YEONGCHEON FCM@YONGIN R&D@RAYONG FCM@QUERETARO@SILAO@LOUISVILLE FCM@TAYLOR
409 | 29777@TANJUNG MALIM@JANGAN R&D@JANGAN Techno@YEONGCHEON FAS@YEONGCHEON FCM
410 | 29777
411 | 29777
412 | 28924-1@JANGAN Techno@YEONGCHEON FCM
413 | 29619-2@BRAMPTON@QUERETARO@SAN JOSE ITURBIDE@SILAO@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@FRANKLIN@LOUISVILLE FCM@TROY FCM
414 | 29619-1@BRAMPTON@QUERETARO@SAN JOSE ITURBIDE@SILAO@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@DEXTER North Harris@FRANKLIN@LOUISVILLE FCM@TAYLOR@TROY FCM
415 | 29801@CHONGQING FCM@CHENNAI FIS I@JANGAN Techno@YEONGCHEON FCM@AUGSBURG Techno@ZILINA@VIGO FCM@ZARAGOZA@SILAO@LOUISVILLE FCM@LIMEIRA@04/10/2018@KOREA FIRE SAFETY ASSOCIATION@KOREA INDUSTRIAL SAFETY ASSOCIATION@3 - Good@TRAINING PREVENT SAFETY PROBLEM@REGULAR SAFETY ROPORT.pdf
416 | 28849-2@LIMEIRA@12/13/2017@FM GLOBAL@FM GLOBAL@1 - Poor@Sprinklers@Adequate and reliable water supply@Smoke detectors in electrical rooms and substations@Improvements in site security@FM Global Summary - Vinhedo.docx
417 | 27407
418 | 27407@MLADA BOLESLAV FCM Bezdecin
419 | 228029-1
420 | 27881-1@PUNE FCM@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@MESSEI@POISSY FCM@AUGSBURG R&D Proto@AUGSBURG Techno@KENITRA FAS@ROERMOND@BRAGANCA@TRNAVA FCM@MADRID FCM@PAMPLONA FCM@VIGO FCM@LIMEIRA@03/29/2017@APAVE/DESAUTEL@SWISS LIFE@4 - Excellent@SMOKE AND FIRE DETECTION (done en 2017)@ELECTRICAL THERMOGRAPHY (1/year done)@to do the correction following thermography analyse@A002_20170405_100000_1735682.pdf
421 | 166465-1
422 | 59085-1@YEONGCHEON FCM@BAKOV@MLADA BOLESLAV FCM Bezdecin@AUGSBURG R&D Proto@HEILBRONN@HERRENBERG@GROJEC@ABRERA FCM@PAMPLONA FCM@FRADLEY FCM@BRAMPTON@QUERETARO@SAN JOSE CHIAPA PUEBLA@COLUMBUS SOUTH@LIMEIRA
423 | 27407
424 | 49417-3@BEIJING@CHENGDU FCM@GUANGZHOU FAS Old@NANCHANG@NANJING FCM JV@NINGBO-BEILUN@QINGDAO FCM OLD@WUHAN FCM 1@RAYONG FCM@BEAULIEU@BRAGANCA
425 | 27407@MLADA BOLESLAV FCM Bezdecin
426 | Acs12345
427 | 49417-1@MLADA BOLESLAV FCM Nadrazni@PISEK FCM@BEAULIEU@HAMBACH SAS@TERNI@LANUS@LIMEIRA
428 | 28849-4@ANTING FCM Weigang@ANTING FCM Yuangong@BEIJING@FOSHAN FCM JV@NANCHANG@NINGBO-BEILUN@QINGDAO FCM OLD@RAYONG FCM@01/05/2018@FM Global@FM Global@1 - Poor@Hot work Permit@Emergency Response Plan@Sprinklers@FM Global Summary Report-Shanghai.docx@more than 66%@008 喷淋系统1-1,2-2剖面图.jpg
429 | 28849-1@SILAO@COLUMBUS SOUTH@DEXTER Arvin Road@11/29/2017@FM Global@FM GLobal@1 - Poor@Provide Sprinkler protection in below deck operations@Provide automatic sprinkler protection in Bldg 300@Replace upright extended sprinklers in Bldg 330@Provide additional purlin bracing in bldg 360@Provide additional purlin bracing in bldg 300@FM Global Summary Report-Tonawanda.docx@more than 66%@~8731014.pdf
430 | 49417-1
431 | 28849-5@CHONGQING FCM@QINGDAO FCM OLD@WUHAN FCM 1@WUHAN FCM 2@WUHAN FCM 3@CHENNAI FCM Techno@TANJUNG MALIM@HERMOSILLO@QUERETARO@SILAO@12/05/2017@FM Global@First Equity @2 - Sub-Standard@Install an FM Approved fire pump and sprinkler tank. @Install automatic sprinkler protection in facility. @Review the use of HID lighting in storage areas. @Implement FM Global Hot Work Permit System@F&NH - All in One Risk Report SA2091.00-01 Unifrax Risk Report Configuati English (United States) 12-Dec-2017.pdf
432 | 28849-3@PUNE FCM@01/19/2018@F M Global@F M Global@1 - Poor@Automatic shutdown for hydraulic system@Sprinkler at critical area@fire pump, yard hydrant and fire water tank@FM Global Summary Report-Pune.docx
433 | 27407-3
434 | 28806-2@PISEK FAS@PISEK FCM@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@AUGSBURG Techno@TERNI@ROERMOND@ZILINA@PAMPLONA FAS@PAMPLONA FCM@VALENCIA R&D@FRADLEY FCM@FRADLEY FIS@more than 66%@TRAFIME1.pdf
435 | 28806-1@PISEK FAS@PISEK FCM@MESSEI@TERNI@ROERMOND@more than 66%@TRAFIME1.pdf
436 | 27216-1@CORDOBA@LANUS@LIMEIRA
437 | 28806-1@PISEK FAS@PISEK FCM@MESSEI@PEINE@TERNI@ROERMOND@ZILINA@PAMPLONA FAS@PAMPLONA FCM@VALENCIA R&D
438 | 64950-1@BRAMPTON@HERMOSILLO@QUERETARO@SAN JOSE ITURBIDE@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@FRANKLIN@TAYLOR
439 | 55748
440 | 28849-6@MLADA BOLESLAV FCM Bezdecin@MLADA BOLESLAV FCM Nadrazni@PISEK FCM@BAVANS@AUGSBURG Techno@ROERMOND@BRAGANCA@PAMPLONA FCM@VIGO FCM@11/17/2017@FM Global@FM Global@1 - Poor@Sprinklers@Flood protection@Improvements in site security@FM Global Summary Report.docx
441 | 29530
442 | 82791@TOGLIATTI FAS@TOGLIATTI FCM
443 | 29278
444 | 29278@BRAMPTON@HERMOSILLO@QUERETARO@SILAO@COLUMBUS NORTH@COLUMBUS R&D@COLUMBUS SOUTH@DEXTER Arvin Road@FRANKLIN@LOUISVILLE FCM@TAYLOR@TOLEDO DMS@TROY FCM@more than 66%@Sprinkler.docx
445 | 28849-1
446 | 58827-2@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BRAGANCA
447 | 49417-2@HAMBACH FIS@MESSEI@TERNI@BRAGANCA@ALMUSSAFES FCM@VIGO FCM@LIMEIRA
448 | 58827-1@BAKOV@MLADA BOLESLAV FCM Bezdecin@PISEK FCM@BAVANS@BEAULIEU@AUGSBURG R&D@ROERMOND@BRAGANCA@CRAIOVA@ZILINA@PAMPLONA FCM
449 | 29304-1@BAKOV@MLADA BOLESLAV SAS@PISEK FAS@PISEK FCM@MESSEI@AUGSBURG Techno@FINNENTROP@HEILBRONN@TERNI@ROERMOND@GROJEC@BRAGANCA@SAO JOAO DA MADEIRA Frames@CRAIOVA@TALMACIU@KALUGA FIS@TOGLIATTI FAS@BRATISLAVA SAS Console@TRNAVA FAS@PAMPLONA FCM@VIGO FAS@LIMEIRA
450 | 5454-54
451 | 2564-4
452 | 293571
453 | 29278@BRAMPTON@HERMOSILLO@QUERETARO@SILAO@COLUMBUS NORTH@COLUMBUS SOUTH@DEXTER Arvin Road@FRANKLIN@LOUISVILLE FCM@TAYLOR@TOLEDO DMS@TROY FCM
454 | 29304
455 | 168485@TOGLIATTI FCM
456 | 27423@BEAULIEU@MESSEI@PAMPLONA FCM@VIGO FCM
457 | 27686@BEAULIEU@BRAGANCA@ABRERA FCM@ALMUSSAFES FCM@PAMPLONA FCM@VIGO FCM
458 | 27686
459 | 28026
460 | 293741@CHONGQING FCM@YANTAI@YEONGCHEON FCM@PLUAK DAENG Old@MLADA BOLESLAV FCM Bezdecin@BAVANS@MESSEI@AUGSBURG R&D@AUGSBURG R&D Proto@TERNI@ROERMOND@VIGO FCM@FRADLEY FCM@BRAMPTON@HERMOSILLO@QUERETARO@SAN JOSE ITURBIDE@SILAO@COLUMBUS NORTH@COLUMBUS R&D@DEXTER Arvin Road@DEXTER North Harris@FRANKLIN@LOUISVILLE FCM@TAYLOR@TROY FCM@LIMEIRA
461 | 29304